## Slide 1: Coherency Based Reduction of a Large Power System Using PSS/E
EEE 412 –Project Presentation
Group-4
Section G2

## Slide 2: Coherency Based Reduction of a Large Power System Using PSS/E
EEE 412 –Project Presentation
Group-4
Section G2

## Slide 3: Introduction
Why network reduction?
Classification: 2 types
  Static
  Dynamic
Notes: Why: For example, when we have interest on a specific part of the network, for example, if a fault occurs, we focus on that specific part. So, the rest of the network which are distant form the fault area need not to analyzed in details while simulating the whole network
Static: In static reduction loads and generators are aggregated with their own kinds. Done mainly for power flow calculations
Dynamic: Dynamic reduction needs modifying the generator parameters, before aggregation so that time domain behavior of the network remains same before and after reduction.

## Slide 4: Introduction
Why network reduction?
Classification: 2 types
  Static
  Dynamic
Notes: Why: For example, when we have interest on a specific part of the network, for example, if a fault occurs, we focus on that specific part. So, the rest of the network which are distant form the fault area need not to analyzed in details while simulating the whole network
Static: In static reduction loads and generators are aggregated with their own kinds. Done mainly for power flow calculations
Dynamic: Dynamic reduction needs modifying the generator parameters, before aggregation so that time domain behavior of the network remains same before and after reduction.

## Slide 5: Introduction
Why network reduction?
Classification: 2 types
  Static
  Dynamic
Notes: Why: For example, when we have interest on a specific part of the network, for example, if a fault occurs, we focus on that specific part. So, the rest of the network which are distant form the fault area need not to analyzed in details while simulating the whole network
Static: In static reduction loads and generators are aggregated with their own kinds. Done mainly for power flow calculations
Dynamic: Dynamic reduction needs modifying the generator parameters, before aggregation so that time domain behavior of the network remains same before and after reduction.

## Slide 6: Introduction
Why network reduction?
Classification: 2 types
  Static
  Dynamic
Notes: Why: For example, when we have interest on a specific part of the network, for example, if a fault occurs, we focus on that specific part. So, the rest of the network which are distant form the fault area need not to analyzed in details while simulating the whole network
Static: In static reduction loads and generators are aggregated with their own kinds. Done mainly for power flow calculations
Dynamic: Dynamic reduction needs modifying the generator parameters, before aggregation so that time domain behavior of the network remains same before and after reduction.

## Slide 7: Introduction
Why network reduction?
Classification: 2 types
  Static
  Dynamic
Notes: Why: For example, when we have interest on a specific part of the network, for example, if a fault occurs, we focus on that specific part. So, the rest of the network which are distant form the fault area need not to analyzed in details while simulating the whole network
Static: In static reduction loads and generators are aggregated with their own kinds. Done mainly for power flow calculations
Dynamic: Dynamic reduction needs modifying the generator parameters, before aggregation so that time domain behavior of the network remains same before and after reduction.

## Slide 8: Objectives
Discuss the methods of building a reduced equivalent model
  39 Bus System
  14 Bus System
Validate the results
  Frequency
  Voltage
  Angular Speed

## Slide 9: Objectives
Discuss the methods of building a reduced equivalent model
  39 Bus System
  14 Bus System
Validate the results
  Frequency
  Voltage
  Angular Speed

## Slide 10: Objectives
Discuss the methods of building a reduced equivalent model
  39 Bus System
  14 Bus System
Validate the results
  Frequency
  Voltage
  Angular Speed

## Slide 11: Coherency detection

## Slide 12: Coherency detection

## Slide 13: Coherency detection

## Slide 14: Coherency detection
Fault applied at 1 s and cleared at 1.1 s
For 39 bus:
Fault applied at bus 30
For 14 bus:
Fault applied at bus 1

## Slide 15: Coherency detection
Fault applied at 1 s and cleared at 1.1 s
For 39 bus:
Fault applied at bus 30
For 14 bus:
Fault applied at bus 1

## Slide 16: Coherency detection
Fault applied at 1 s and cleared at 1.1 s
For 39 bus:
Fault applied at bus 30
For 14 bus:
Fault applied at bus 1

## Slide 17: Network Equivalence

## Slide 18: Network Equivalence
39 bus:
Internal networks are bus 1,2,25,30,37,39
14 bus:
Internal networks are bus 1,2,3,4,5

## Slide 19: Network Equivalence
39 bus:
Internal networks are bus 1,2,25,30,37,39
14 bus:
Internal networks are bus 1,2,3,4,5

## Slide 20: Network Equivalence
39 bus:
Internal networks are bus 1,2,25,30,37,39
14 bus:
Internal networks are bus 1,2,3,4,5

## Slide 21: Result: Coherency detection (39 BUS System)
Fig: Rotor angle vs time plot of generator 33, 34 and 36

## Slide 22: Result: Coherency detection (39 BUS System)
Fig: Rotor angle vs time plot of generator 35,38

## Slide 23: Result: Coherency detection (14 BUS System)
Fig: Rotor angle vs time plot of all generators

## Slide 24: Result: Frequency (39 BUS System)
Notes: We can see, the frequency matches in oscillation and deviates a little after some time period.

## Slide 25: Result: Frequency (14 BUS System)
Notes: We can see, the frequency matches in oscillation and deviates a little after some time period.

## Slide 26: Result: Voltage (39 BUS System)
Notes: The voltage profiles match perfectly with a slight deviations in phase.

## Slide 27: Result: Voltage (14 BUS System)
Notes: The voltage profiles match perfectly with a slight deviations in phase.

## Slide 28: Result: Angular Speed (39 BUS System)
Notes: The angular speed also shows the same result with a slight deviation.

## Slide 29: Result: Angular Speed (14 BUS System)
Notes: The angular speed also shows the same result with a slight deviation.

## Slide 30: Summary of Reduction
Component | Original | After Reduction
Bus | 14 | 8
Generator | 5 | 4
Load | 11 | 10
Branch | 20 | 12
Component | Original | After Reduction
Bus | 39 | 18
Generator | 10 | 7
Load | 19 | 21
Transmission lines | 34 | 27

## Slide 31: Summary of Reduction
Component | Original | After Reduction
Bus | 14 | 8
Generator | 5 | 4
Load | 11 | 10
Branch | 20 | 12
Component | Original | After Reduction
Bus | 39 | 18
Generator | 10 | 7
Load | 19 | 21
Transmission lines | 34 | 27

## Slide 32: Summary of Reduction
Component | Original | After Reduction
Bus | 14 | 8
Generator | 5 | 4
Load | 11 | 10
Branch | 20 | 12
Component | Original | After Reduction
Bus | 39 | 18
Generator | 10 | 7
Load | 19 | 21
Transmission lines | 34 | 27